## Slide 1
BC STUDIO
EXERCISE ONLY — NOT FOR DISTRIBUTION
Severely damaged pipes
Tabletop | 120 minutes

## Slide 2
EXERCISE OVERVIEW
Severely damaged pipes
Exercise Type
Tabletop
Format
—
Complexity
Moderate
Duration
120 minutes
Category
—
AIM
To evaluate Barwon Water's ability to effectively respond to and recover from a severe infrastructure failure involving damaged pipes, ensuring minimal disruption to critical water supply and wastewater management services.
SCENARIO
A severe weather event has caused unprecedented rainfall in the region served by Barwon Water. The excessive rain has led to the saturation of the ground, resulting in significant pressure on the underground water pipes. In the early morning hours, a critical section of the main water distribution pipes located near the regional pumping station sustains severe damage, leading to a major leak. This damages the flow of water supply to several key communities and industrial clients. The sudden loss of pressure is detected by the central control system, triggering alarms and alerts within the oper

## Slide 3
LEARNING OBJECTIVES
Severely damaged pipes
OBJ-01
Test the effectiveness of the Crisis Management Team's activation and initial response to the infrastructure failure.
✓ CMT is activated within 30 minutes of incident notification; initial response actions are aligned with the crisis management plan.
OBJ-02
Validate the communication protocols and effectiveness of internal and external communications during the incident.
✓ Communication to stakeholders, including regulators and customers, is initiated within predefined timeframes, with messages consistent and factual.
OBJ-03
Assess the ability of the Business Recovery Teams to implement continuity and recovery plans effectively.
✓ Continuity plans are executed within the defined Recovery Time Objective (RTO) for critical services, and recovery actions are documented.
OBJ-04
Evaluate decision-making processes and clarity of role responsibilities during the incident.
✓ Decisions are made within appropriate authority levels, with clear documentation of decision rationale and role responsibilities.
OBJ-05
Confirm compliance with regulatory and legal obligations related to incident notification and response.
✓ All regulatory notifications are completed within the prescribed timeframes, and compliance with relevant regional regulations is maintained.

## Slide 4
Severely damaged pipes
Duration: 2h 00min | |
EXERCISE ONLY
Phase 1
Phase 1
1
T+5min
Initial Alert: Water Pressure …
2
T+13min
Site Assessment Update
Field Engineer: We've confirmed a major leak
3
T+21min
Regulator Inquiry
4
T+29min
Public Concern on Social Media
What's happening with our water? Pressure is
Inject / Situation Update
Decision Point / Escalation
REVIEW FOCUS:
Phase 1
10 injects |

## Slide 5
EXERCISE ONLY — NOT FOR OPERATIONAL USE
INJ 001
1 of 10
T+5 min | Initial Alert | via Email | Information
Control Room → Operations Manager
Initial Alert: Water Pressure Drop
Subject: Urgent: Sudden Drop in Water Pressure Hi Team, We've detected a significant drop in water pressure in the main distribution line near the regional pumping station. Immediate investigation is required. Best, Control Room
EXPECTED ACTIONS
• Crisis Management Team (CMT) activation and initial assessment of situation.
EVALUATION CRITERIA
CMT is activated within 30 minutes of incident notification.
FACILITATOR NOTE: Prompt participants to initiate immediate site assessment.

## Slide 6
EXERCISE ONLY — NOT FOR OPERATIONAL USE
INJ 002
2 of 10
T+13 min | Situation Development | via Phone Call | Escalation
Field Engineer → Operations Manager
Site Assessment Update
Field Engineer: We've confirmed a major leak near the regional station. The pipes are severely damaged due to ground saturation. It looks like water contamination is possible.
EXPECTED ACTIONS
• Participants should escalate the issue and begin contamination risk assessment.
EVALUATION CRITERIA
Prompt escalation and initiation of contamination assessment.
FACILITATOR NOTE: Highlight the potential contamination risk to escalate urgency.

## Slide 7
EXERCISE ONLY — NOT FOR OPERATIONAL USE
INJ 003
3 of 10
T+21 min | Escalation | via Teams / Slack | Communications
Regulatory Affairs → CMT
Regulator Inquiry
Heads up: The regulator just reached out. They want an update on the water supply issue within the next 2 hours. Need to coordinate our response.
EXPECTED ACTIONS
• Draft and approve a response to satisfy regulatory requirements.
EVALUATION CRITERIA
Timely and accurate communication with the regulator.
FACILITATOR NOTE: Push for quick coordination of a response to the regulator.

## Slide 8
EXERCISE ONLY — NOT FOR OPERATIONAL USE
INJ 004
4 of 10
T+29 min | Escalation | via Social Media Post | Communications
Local Resident → Public
Public Concern on Social Media
What's happening with our water? Pressure is low and tastes weird. @BarwonWater #WaterCrisis
EXPECTED ACTIONS
• Dispatch public communication team to address public concerns.
EVALUATION CRITERIA
Effective and consistent public communication addressing concerns.
FACILITATOR NOTE: Increase pressure on public communications.

## Slide 9
EXERCISE ONLY — NOT FOR OPERATIONAL USE
INJ 005
5 of 10
T+37 min | Complication | via Teams / Slack | Decision Point
Health and Safety Lead → CMT
Internal Discussion on Contamination Risk
We need to decide if a boil water notice is necessary. Possible contamination from the leak.
EXPECTED ACTIONS
• Evaluate the need for a public safety advisory.
EVALUATION CRITERIA
Timely and appropriate decision on issuing a public advisory.
FACILITATOR NOTE: Force a decision on public safety measures.

## Slide 10
EXERCISE ONLY — NOT FOR OPERATIONAL USE
INJ 006
6 of 10
T+45 min | External Pressure | via Phone Call | Communications
Local News Reporter → Communications Lead
Media Interest
Reporter: We've heard about the water issue. What's being done to fix it? Is it safe to drink?
EXPECTED ACTIONS
• Prepare and deliver a holding statement for the media.
EVALUATION CRITERIA
Consistent and factual media response.
FACILITATOR NOTE: Test the team's ability to handle media inquiries.

## Slide 11
EXERCISE ONLY — NOT FOR OPERATIONAL USE
INJ 007
7 of 10
T+53 min | Complication | via Email | Communications
Major Industrial Client → Customer Service
Industrial Client Escalation
Subject: Urgent: Water Supply Issue Dear Barwon Water, Our operations are severely impacted by the water supply issue. We need an immediate update on the expected restoration timeline. Regards, Industrial Client
EXPECTED ACTIONS
• Communicate restoration plans and timelines to key industrial clients.
EVALUATION CRITERIA
Effective and timely communication with industrial clients.
FACILITATOR NOTE: Increase pressure from key clients to prioritize restoration efforts.

## Slide 12
EXERCISE ONLY — NOT FOR OPERATIONAL USE
INJ 008
8 of 10
T+61 min | Decision Point | via Executive Request | Decision Point
Crisis Management Team Lead → Operations Manager
Decision Time: Water Rationing
We need to consider water rationing for affected areas. Please provide an assessment of impact and feasibility.
EXPECTED ACTIONS
• Assess and propose a water rationing plan.
EVALUATION CRITERIA
Balanced decision on resource allocation with documented rationale.
FACILITATOR NOTE: Drive decision-making on resource allocation.

## Slide 13
EXERCISE ONLY — NOT FOR OPERATIONAL USE
INJ 009
9 of 10
T+69 min | Decision Point | via Regulator Notice | Action Required
Water Authority → Regulatory Affairs
Stakeholder Pressure: Regulatory Deadline
Ref: 2023/09 Water Incident Barwon Water, Please submit your incident report by end of business today, detailing the cause, impact, and mitigation actions. Non-compliance may result in penalties. Regards, Water Authority
EXPECTED ACTIONS
• Compile and submit the required incident report to the regulator.
EVALUATION CRITERIA
Compliance with regulatory reporting obligations.
FACILITATOR NOTE: Ensure compliance with regulatory reporting requirements.

## Slide 14
EXERCISE ONLY — NOT FOR OPERATIONAL USE
INJ 010
10 of 10
T+77 min | Recovery Initiation | via Teams / Slack | Action Required
Operations Manager → Business Recovery Teams
Recovery Initiation: Return to Normal
We've started repairs on the damaged pipes. Let's plan for a gradual return to normal operations over the next 48 hours.
EXPECTED ACTIONS
• Initiate recovery plans and communicate timelines for service restoration.
EVALUATION CRITERIA
Effective initiation of recovery plans and communication of return-to-normal timelines.
FACILITATOR NOTE: Transition focus to recovery and restoration of services.

## Slide 15
MASTER SCENARIO EVENTS LIST (MSEL)
Severely damaged pipes
# | T+ | Phase | Channel | Title | Expected Actions
001 | +5m | Initial Alert | Email | Initial Alert: Water Pressure Drop | Crisis Management Team (CMT) activation and initial assessment of situation.
002 | +13m | Situation Development | Phone Call | Site Assessment Update | Participants should escalate the issue and begin contamination risk assessment.
003 | +21m | Escalation | Teams / Slack | Regulator Inquiry | Draft and approve a response to satisfy regulatory requirements.
004 | +29m | Escalation | Social Media Post | Public Concern on Social Media | Dispatch public communication team to address public concerns.
005 | +37m | Complication | Teams / Slack | Internal Discussion on Contamination Risk | Evaluate the need for a public safety advisory.
006 | +45m | External Pressure | Phone Call | Media Interest | Prepare and deliver a holding statement for the media.
007 | +53m | Complication | Email | Industrial Client Escalation | Communicate restoration plans and timelines to key industrial clients.
008 | +61m | Decision Point | Executive Request | Decision Time: Water Rationing | Assess and propose a water rationing plan.
009 | +69m | Decision Point | Regulator Notice | Stakeholder Pressure: Regulatory Deadline | Compile and submit the required incident report to the regulator.
010 | +77m | Recovery Initiation | Teams / Slack | Recovery Initiation: Return to Normal | Initiate recovery plans and communicate timelines for service restoration.